# Building Maintenance Checklist

Created: 10/13/2026

# Tasks:

☐ Round details

Complete these details once per round, then use the atomic observations below. The named route is not an automatically generated room module.

☐ Identify the site

Use the site name or permitted site reference used by the maintenance team.

☐ Name the area or short route

State the area covered by this round. Before starting, rename each observation with its actual room or asset; duplicate a check when another asset needs a separate result.

☐ Identify the inspector

Record the person or role completing this round.

☐ Record the round start

Use the actual inspection date and time. Add the local time zone in Comments if the site works across zones.

☐ Reference the previous round and open repairs

Record a permitted previous-round or open-repair reference if one exists. Review existing Issues before creating duplicate repair work.

☐ Confirm the escalation contact

Record the responsible site role or ordinary work contact for faults found on this route. Use the site emergency process immediately for urgent hazards.

☐ Approach

Use only the approved pedestrian approach on the named route.

☐ Check the approach for obstructions

Look along the named approach from a safe position. Report an object blocking the route; do not enter traffic or a cordoned area.

☐ Check the approach surface for damage

Look for visible damage to the named walking surface. Do not test unstable ground.

☐ Check the approach for standing water

Observe standing water from a dry, safe position. Do not walk through it to finish this check.

☐ Corridor or stair

Label each corridor, stair or handrail included in the route before the round.

☐ Check the corridor for obstructions

Look for stored items obstructing the named corridor. Do not assess statutory escape-route compliance.

☐ Check the stair tread for visible damage

Inspect the named tread from normal safe access. Create a separate check for each tread or section requiring its own result.

☐ Check the handrail for visible damage

Look at the named handrail section. Do not pull, load-test or certify it.

☐ Room surfaces

Inspect the named surfaces from floor level. Do not disturb suspect material or open a ceiling.

☐ Check the floor for visible damage

Look at the named floor section for damage. Describe the defect in an Issue without diagnosing its cause.

☐ Check the wall for new cracks

Compare the named wall section with previous evidence where available. Do not diagnose structural causes.

☐ Check the ceiling for water staining

Look at the named ceiling section from floor level. Do not climb or touch a bulging or suspect surface.

☐ Door and window

Use ordinary permitted operation only. Keep each door and window separately identified.

☐ Check that the door closes normally

Operate the named door only if authorized and safe. Do not force it, adjust a fire door or defeat security.

☐ Check the window pane for visible damage

Observe the named pane from a safe distance. Do not touch broken or suspect glazing.

☐ Water fixtures

Label the individual fixture. Do not dismantle fittings or enter contaminated water.

☐ Check the tap connection for visible leakage

Observe the named tap connection during normal permitted use, where safe.

☐ Check the basin drain connection for visible leakage

Inspect only the visible, normally accessible connection. Do not remove a cover or dismantle the drain.

☐ Check the toilet base for visible water

Observe the floor immediately around the named toilet base from a safe position. Do not touch unknown liquid.

☐ Lighting and electrical covers

Observe from a safe position. Do not open panels, touch damaged equipment or test live circuits.

☐ Check that the light illuminates

Observe the named light during normal permitted operation. Give each light needing an independent result its own task.

☐ Check the socket cover for visible damage

Look at the named socket cover without touching it. Escalate a suspected electrical danger through the site process.

☐ Check the visible cable for damage

Inspect only the named cable visible from normal access. Do not move or handle a damaged cable.

☐ Ventilation unit

Use only the named unit accessible from an occupied area. Do not enter restricted plant, remove guards or change controls.

☐ Check the ventilation grille for blockage

Look at the named accessible grille for an obstruction. Do not remove it.

☐ Check beneath the unit for visible water

Observe the accessible surface directly beneath the named unit. Do not diagnose the source of liquid.

☐ Listen for unusual noise from the unit

Listen from normal safe access while the named unit is operating. If it is off or cannot be assessed, record Not inspected and the reason.

☐ Check the unit display for a warning

Read the named unit display without changing settings. If a warning appears, quote its text or code in the Issue.

☐ Waste and drainage

Use only locations visible from the approved route. Do not handle sharps, unknown substances or drain covers.

☐ Check the waste bin for overflow

Observe the named bin without handling its contents.

☐ Check the drain inlet for visible blockage

Look at the named ground-level inlet without opening it or removing debris.

☐ Check the drainage area for ponding

Observe the named drainage area from safe ground. Do not enter pooled water or climb to inspect a roof.